## Sheet 1
6.12.20 - 89677410873 - Q&A Report
Question Report
Report Generated: | Jun 16, 2020 1:01 AM
Topic | Webinar ID | Actual Start Time | # Question
6.12.20 NE Roundtable | 896 7741 0873 | Jun 12, 2020 8:14 AM | 64
Question Details
# | Question | Asker Name/Organization | Answer(s)
1 | David - Why are there two colors for energy storage on August 9th example? | Mark Sandeen, Sustainable Lexington
2 | In the power scenario David outlined. Solar looks relatively small in 2050, is that because it is only showing solar in front of the meter, and not capturing solar and other BTM generation? | Ian Finlayson, MA DOER
3 | For Mr. Ismay: For the building sector, what fraction of new heating installations (new build or retrofit) are built with nat gas or oil heating over the 2020 to 2050 timeframe? At what point do electric heating systems exceed 50% of the installations? | Tommy Vitolo, Synapse
4 | Can David elaborate on what causes the cost “flip and flip hard” in the 2035 timeframe? | Mark Sandeen, Sustainable Lexington
5 | Does the 2050 Roadmap assume continuation of competitive markets/ | Stephen Conant, Anbaric
6 | What is considered a "clean import"? Canadian hydro? | Stephen Conant, Anbaric
7 | What is the projection of offshore wind capacity? | Stephen Conant, Anbaric
8 | You 09:32 AM Does the 2050 Roadmap assume continuation of competitive markets/ You 09:32 AM What is considered a "clean import"? Canadian hydro? You 09:33 AM What is the projection of offshore wind capacity? | Stephen Conant, Anbaric
9 | I believe the UN's IPCC analyses rely significantly on negative emissions - what role do those projections take in the presentations we have just seen and heard? | Quincy Vale, MassAmerican Energy, LLC | live answered
10 | Does the 2050 Roadmap assume continuation of competitive markets/ You 09:32 AM What is considered a "clean import"? Canadian hydro? You 09:33 AM What is the projection of offshore wind capacity? From Steve Conant - Anbaric | Stephen Conant, Anbaric
11 | Question for Sue Tierney (Sue AnderBois: The Nature Conservancy in Rhode Island): In her slide on the reduction of emissions because of natural gas -- do her numbers include only emissions from burning natural gas, or also the emissions from the gas that escapes through our leaky pipelines/infrastructure? | Susan AnderBois | Sue Tierney: Hi Sue - The numbers are from EIA and are only CO2 emissions. So, unfortunately they don't include methane emissions. I had wanted to include GHG emissions in my presentation, but the EPA inventory numbers don't show recent years. And of course, those direct methane emissions from leaky pipelines are very important. Thanks for noting that point in your question.
12 | Joe LaRusso, City of Boston For panelists: In what year will the electricity sector see peak gas generation? That is, when will rate at which gas generation is replaced be lower than gas retirements? | Joseph LaRusso,- City of Boston, Office of the Environment | Sue Tierney: Hi Joe - I think that we'll see peaking of gas use for power generation in the near term, but frankly it "will depend..." For example, if MA and CT and RI don't move faster with AMI, then we can expect to see more need for output at NG plants as more renewables enter the system.
13 | Sue, could you elaborate on your statement about the sustainability of ISO-NE's organized capacity market? | Brooks Winner, MAPC | Sue Tierney: Hi Brooks - I made that observation in light of the combination of following points: (1) a three-year forward capacity market is too short for assuring visibility into long-term revenue streams for financing big (and small) capital-intensive projects; (b) that's particularly true when energy market prices look to stay low and perhaps continued volatility with deeper intermittent renewables; (c) without a price on carbon in the ISO-NE market, then there's little value (i.e., RGGI only) associated with the zero-carbon attribute of many of the resources that are needed to enter the market to meet state targets; and (d) states are using long-term contracts to address those prior issues, and that is on a collision course with FERC, in light of recent decisions by FERC. So I think that the organized capacity market is at risk. It won't surprise me if some states eventually try to take back their direct control over resource adequacy considerations and withdraw from the capacity market.
14 | What do you attribute the dearth of AMI in MA? | Joanne Bissetta, MA DOER | Sue Tierney: Hi Joanne - I think that there are a lot of intangible sources of value that can be created through providing the infrastructure to help enable customers to see real-time prices and for them/aggregators/distribution companies/ISO-NE to be able to respond differentially to conditions on the system in real time across space in NE. And understandable regulatory concerns about adding costs to distribution customers' creates a challenge in making formal determinations about whether the investment in that infrastructure is going to be net beneficial to customers who pay for it. That said, it seems that there's a disconnect between the GHG-emissions reduction aspirations (and statutory requirements) of the states and those same states' progress on getting ready for change. It's a tough situation and will require continued and focused attention to this issue, in my view.
15 | Sue Tierney mentioned mixed feelings for nuclear. What about mixed feelings for Canadian hydropower from megadams? | David Heimann, Retired | Sue Tierney: Hi David - I should have added that same point about Canadian hydro. Very mixed feelings about additional resources into the region. And we can expect the same to be true about offshore wind, new transmission lines to deliver large around-the-clock supply of distant power, and retention of natural gas. Hmmm. It's complicated. :)
16 | Does Sue Tierney have an opinion about the Mystic Reliability question in front of ISO-NE? | Bradford Swing, City of Boston, Environment Office | Sue Tierney: Hi Brad! Hope you're well. I hesitate to comment on this filing, because I haven't look at the details recently. I'm not trying to evade your good question; just don't want to make a less-than-completely informed response! What's your view?
17 | FYI - not seeing slides; just Melanie. | Joe Van Gombos, Unitil
18 | Will the Energy Futures Initiative slides be shared? | Jay Lucey, Coalition of Northeast Governors | Respondent not identified: They're on the Raab Rountable website now.
19 | Thank you, Sue! great presentation - always good to hear you speak! | Susan AnderBois, The Nature Conservancy | Sue Tierney: Thank you. Very nice.
20 | Hi Melanie! 1168 MW Northfield Mountain pumped storage has over 7 hours of storage | Carter Wall, First Light Power | Melanie Kenderdine: You can get longer duration storage from pumped hydro but it's insufficient for 11 days in a row.
21 | Melanie mentioned days of no wind in CA and TX... but that's onshore wind. Is the offshore wind picture (off of New England) in terms of consistency a different picture? | Susannah Hatch, Environmental League of MA
22 | Manuel Esquivel (Boston Planning & Development Agency; Sr. Infrastructure & Energy Planner): When Melanie mentioned storage capacity, did the curves include hydro storage? | Manuel Esquivel
23 | How can offshore wind be $138/MWh in light of the most recent MA procurements, even with tax credits | Jurgen Weiss, The Brattle Group
24 | Melissa what about pump storage. You did not mention that as a storage solution. | Mary Usovicz, MU Solutions | Melanie Kenderdine: Pumped hydro is very location specific. I have not looked at pumped storage in New England but in the CA study there were, as I recall, only 6 or 7 sites that were approprite and did not require electricity to move the water up the incline
25 | flow batteries factor storage? robert rosenberg s m c | Robert Rosenberg, SMC | live answered
26 | Sorry not melissa Melaine | Mary Usovicz, MU Solutions
27 | why is it we have leaks from pipes? is it construction process? if not what is it? robert rosenberg s m c | Robert Rosenberg, SMC
28 | For panelists, Bobbi Kates-Garnick, Tufts- how do we embed social justice issues more quantatively in our models related to natural gas? | Barbara Kates-Garnick, Anbaric Board/Tufts | Respondent not identified: Hi Bobbi!! Great question. As a starting point, here are a few thoughts. From a process point of view, I think that EF and local public health issues can be embedded more concretely into planning standards for infrastructure (e.g., in FERC pipeline certification processes that identify need in conjunction with env'l impacts). There could be more support for local groups to receive training and resources to participate in formal dockets on projects. From a modeling point of view, one thought is that there can be combinations of (a) granular, location-specific air emissions impacts from operating energy facilities modeled by production-simulation models (with additive information about methane emissions associated with delivery of gas), in combination with (b) an overlay of the location of EJ communities, and (c) public health outcomes associated with specific types of emissions (with these outcomes able to be transformed to economic metrics). Those ideas wouldn't take us all the way, but they could help.
29 | I have the same question as I asked Sue Tierney about mixed feelings for Canadian megadams, to ask to Ken Kimmell. | David Heimann, Retired
30 | How does NY building their transmission line from quebec to NYC affect the availability of the 4 GW from hydro you mentioned? Jason Stark - Eversource | Jason Stark, Eversource
31 | From Steve Cowell, E4TheFuture: for Ken-how confident are we in the carbon impact of hydro and the amount of non emitting hydro that does not result in HQ filling in any gaps with Natural Gas generation | Stephen Cowell, e4thefuture
32 | Hi Sue, this is a great beginning- I think we will all be faced with this issue as we begin any study. I am thinking about it deeply for my class because students will require this issue before we begin our semester. | Barbara Kates-Garnick, Tufts University
33 | So great to see you and hear from you. I realized as soon as I asked that my question about the very specific puzzle piece of Mystic’s proposed retirement and ISO-NE’s treatment of that issue was too granular for this discussion. The City of Boston is actively assessing its position on this, so I am hesitant to say too much here. I will say that we see the need for full assessment of the Mystic Reliabilty Off Shore Wind Link approach currently under consideration here. I am so grateful for your clear voice on these energy issues. The City of Boston’s energy work has greatly benefited from your thinking. | Bradford Swing, City of Boston, Environment Office | Respondent not identified: THanks, Brad. Good luck with the journey. And that assessment will indeed be important. Stay well!
34 | For panelists: (Doug Harriott, Melrose) Have any of the electricity demand projections looked at demand reduction as numbers of people adopt WFH into the future? Transportation energy needs and office HVAC needs could be reduced significantly... | Doug Harriott, City of Melrose | Respondent not identified: I am not aware of any analysis taking into account some of the more recent behavioral changes into account - or assumptions on whether they sustain. But it is one of the many massive uncertainties we have. For New England, specifically, I don't expect it to have a fundamental overall demand cut given that so much demand is driven by residential and smaller-scale commercial use.
35 | Brian Jones (MJB&A) for Dan Dolan - in NEPGA's modeling what did they assume for the use of carbon price revenues? | Brian Jones, MJ Bradley & Co. | live answered
36 | Brian Jones (MJB&A) for all panelist - given the significant increase in generating capacity necessary in order to meet demand for transportation and building electrication, what are the total costs and what are the key mechanisms to support that investment? | Brian Jones, MJ Bradley & Co.
37 | For Sue Tierney from Jerry Oppenheim, Low-Income Energy Affordability Network: Great presentation, thanks! What are your thoughts to address the affordability concerns raised by the cost/price impacts you mentioned (e.g., natural gas distribution as demand shrinks, need for supports for electrification & remaining gas generation, etc.)? | Jerrold Oppenheim, Low-Income Energy Affordability Network | Sue Tierney: Hi Jerry - This is a really important question. It's easier to imagine some strategies for utilities with both gas and electric distribution services, because there might be ways to use some of the new revenue streams on the electric side to pick up some of the lost revenues on the gas side. Much harder when there are stand-alone gas and electric systems. Maybe if there were revenues from carbon prices (either within the ISO-NE markets or more economy wide), they could be used to address these cost/price impacts on the gas customers than remain on gas at any point in time. I think that the recent MA AG filing at the DPU raises really good and hard questions. I hope that you are doing well and hanging in there during very very difficult times. Thanks for work on affordability for so many decades.
38 | Admittedly, nuclcear energy is a zero emissions alternative. However it poses significant health and environmental risks for tens of thsousands of years. Why is nuclear incorporated in all future scenarios? | Andreas Thanos, MA DPU, Gas specialist | Respondent not identified: I did not, I assumed nuclear went to zero in my reference frames
39 | Apologies. Andreas THanos MA DPU | Andreas Thanos, MA DPU, Gas specialist
40 | Can the Q&A box be saved/downloaded? | Bill Ravanesi, Healthcare Without Harm
41 | Deborah Donovan, Acadia Center: Can the panelists discuss how reinvestment of proceed from carbon pricing could advance policy goals like electrification, storage and deepening end user participation/flexibility | Deborah Donovan, Acadia Center
42 | Melaine First Light Power which has one of the pump storage is looking at the offshore wind and pump could be done with excess offshore wind so it would be clean | Mary Usovicz, MU Solutions | Melanie Kenderdine: I have not looked at pumped storage in New England but in CA is was pretty location specific and there were only 6 or 7 sites that were appropriate
43 | Question for Ken -- What are your thoughts on the potential for altenatives like RNG and geothermal for end users? Can RNG realistically affect the overall emissions from natural gas distribution? | Aimee Bell-Pasht, MA DPU
44 | Paul Popinchalk - Worcester Decarbination Task Force- What is the resiliency risk we create by shifting to total reliance on the electric grid (ie: Halloween Show storm with 5-day grid outage.? | Paul Popinchalk, Worcester Decarbination Task Force-
45 | Will Q&A be available later on the Raab website? | Danuta Drozdowicz, California Energy Commission
46 | Paul Popinchalk - Worcester Decarb Task Force - What are the legality issues of a new gas connection ban by a municipality? Would use of police power (resident safety concerns basis) or permitting prohibition stand up to Gas Utility court challenge?? | Paul Popinchalk, Worcester Decarbination Task Force-
47 | Mr. Woodcock: Given that the majority of the 2020-2050 heating systems will be built in the next decade (if I understood your woods correctly), is it not good public policy to only allow clean heating and cooling (e.g. no burning fossil fuels onsite) for new construction and substantial renovation, at least where it’s technically feasible and has similar costs, as soon as possible? | Tommy Vitolo, Synapse
48 | With respect to biofuels, hopefully none of that will come from woody biomass? (David Heimann, Sierra Club) | David Heimann
49 | Given Patrick’s point that energy efficiency is one of the main methods of reducing emissions, isn’t he worried that 2 out of the 3 programs mentioned are currently running out of funding? Audrey Schulman, HEET | Audrey Schulman, HEET
50 | This is Quincy Vale with MassAmerican Energy LLC. This is a question for Patrick Woodcock: Could you address DOER's goals and schedule to amend the APS? Currently, that market and the AECs are vastly oversupplied and market value are not sufficient to support continued installations of air-source and ground-source heat pumps. | Quincy Vale, MassAmerican Energy, LLC
51 | quite true. also your points about current role of storage in the market are very important. just letting you know for your slide on storage durations by region. good to see you! | Carter Wall, First Light Power
52 | William Ackley: (Doug Harriott, Melrose) You listed that a few hundred miles of service lines were replaced in MA from 2014-2019: to put that into perspective, what would you estimate is the total mileage in MA? | Doug Harriott, City of Melrose
53 | Matt Wolfe from Next Grid Markets. California's LCFS allows RNG to qualify without physical delivery (i.e., via contracts rather than physical delivery). Would Massachusetts consider something similar? | Matthew Wolfe, Next Grid Markets.
54 | If Eversource is considering purchasing 10% "responsible natural gas" does that imply that the other 90% is irresponsible? | Brooks Winner, MAPC | Respondent not identified: Thank you for your question....this is a very new option and addressing environmental concerns associated with production. We are pressing to continue to see ALL producers and wells achieve this new certification. This does not mean that all others currently do not meet these standards, just havent gained certification
55 | There is a huge difference between HEET and Eversource's estimates of geothermal network costs. Please explain | Chris Stix, Conservation Law Foundation
56 | Joe LaRusso, CIty of Boston for Sheri Givens: Great that Grid is advancing RNG tech, but is the amount Grid can deliver material? That is, what percent of total does Grid believe it can deliver? What are the associated emissions reductions? | Joseph LaRusso,- City of Boston, Office of the Environment
57 | For Zeyneb Magan, from Jerry Oppenheim, Low-Income Energy Affordability Network: What do you project the residential heating cost to be of the GeoMicroDistrct you describe, as compared to current gas heating cost with efficient equipment? | Jerrold Oppenheim, Low-Income Energy Affordability Network | Zeyneb Magavi: The BuroHappold study used existing data to predict and found a lower cost for both residential and commercial customers.
58 | Sorry, that's for Zeyneb Magavi. | Jerrold Oppenheim, Low-Income Energy Affordability Network
59 | How can public health, health care, and natural gas providers reduce the risk of indoor air pollution and childhood asthma associated with cooking with a natural gas stove? In December 2019, the Massachusetts Medical Society (MMS) representing more than 20,000 physicians in Massachusetts adopted The MMS recognizes the association between the use of gas stoves, indoor15 nitrogen dioxide levels, and asthma. The MMS will inform its members and, to the extent possible, health care18 providers, the public, and relevant Massachusetts organizations that use of a gas stove increases household air pollution and the risk of childhood asthma and asthma severity; which can be mitigated by reducing the use of the gas cooking stove, using adequate ventilation, and/or using an appropriate filter. Steve Jones - retired public health physician (Centers for Disease Control & Prevention, retired) - Sierra Club volunteer | T Stephen, Retired physician | live answered
60 | Andreas Thanos, MA DPU In early May, Rev. Jesse Jackson was quoted in support of building a natrual gas pipeline to serve an impoverished community near Chicago. As the upcoming recession will make affordability a major topic of discussion, how do we move ahead with decarbonization? | Andreas Thanos, MA DPU, Gas specialist
61 | Brian Jones (MJB&A) The concept of electric and gas network integration is one that is growing in importance given the huge challenge that deep decarbonization presents to society - this will require alignment among states and regions to happen...what are the key policies and strategies to get there? | Brian Jones, MJ Bradley & Co.
62 | Mary Schwarzer, Staff Attorney NH Putilities Commission. | Mary Schwarzer, Staff Attorney NH PUC
63 | Have panel references to RNG been broad in scope, including landfill RNG, or limited to biofuel RNG (Wastewater and Food waste) | Mary Schwarzer, Staff Attorney NH PUC
64 | What are/should the state or others be doing to put together plans for using potential federal COVID stimulus funding for accelerating electrification through heat pumps (as well as EVs), including for existing gas heat customers? | Francis Cummings, Peregrine